## Sources
Cavite Pollution Reduction Opportunity Analysis
Domestic Sources | Industrial | Urban Stormwater | Agricultural | Other
Untreated sewage | Food processing | Runoff | Fertilizer | Phosphate Detergent Ban
Wastewater treatment plant discharge | Meat processing | Trash | Livestock manure | Atmospheric deposition
Sludge disposal | Pulp and paper | Other, please specify: | Poultry litter | Other, please specify:
Landfill leachate | Beverage |  | Aquaculture
Septic tank effluent | Dye/textile/garments |  | Other, please specify:
Other, please specify: | Semicon
Metal
Chemical
Minerals
Laundry
Wood
Rubber/leather
Plastic/film/foam
Industrial dumpsite
Power plant
Other, please specify:

## Domestic Wastewater
Domestic Wastewater
[11 empty] | Discount Rate | 5%
Select Wastewater Technologies Upgrade Wastewater Treatment Plants for Nutrient Removal |  |  | Existing Loads and Reduction Potential Calculation | [6 empty] | Cost Data and Unit Costs Calculation
Wastewater Technologies Upgrade Wastewater Treatment Plants for Nutrient Removal | TN Efficiency, % | TP Efficiency, % | Design or Current Flow cubic meters/day | Influent Concentrations mg/L |  | Effluent Concentrations mg/L |  | Nutrient Load Reduced kg/year |  | CAPEX/Cubic meters/day (USD) | Total CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | Annual OpEx/Cubic Meter (USD) | Annual OpEx (USD) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus
Biological Nitrogen Removal |  |  | 14341 | 15 |  | 3 |  | 62813.58 | 0 | 351 | 5033691 | 20 | 12.4622 | 403916.389 | 0.0304 | 435.9664 | 403916.4194 | 6.4304
Biological Phosphorus Removal |  |  | 14341 |  | 11 |  | 0.1 | 0 | 57055.6685 | 1083 | 15531303 | 20 | 12.4622 | 1246271.9352 | 0.026 | 372.866 | 1246271.9612 |  | 21.8431
Wastewater Technologies Build New Wastewater Treatment Plants for Urban Unsewered Population | TN Efficiency, % | TP Efficiency, % | Design or Current Flow cubic meters/day | Influent Concentrations mg/L |  | Effluent Concentrations mg/L |  | Nutrient Load Reduced kg/year |  | CAPEX/Cubic meters/day (USD) | Total CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | Annual OpEx/Cubic Meter (USD) | Annual OpEx (USD) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus
Sequencing Batch Reactor |  |  | 63020 | 15 |  | 6 |  | 207020.7 | 0 | 106.3 | 6699026 | 20 | 12.4622 | 537547.1779 | 0.025 | 1575.5 | 537547.2029 | 2.5966
Sequencing Batch Reactor |  |  | 63020 |  | 11 |  | 1 | 0 | 230023 | 106.3 | 6699026 | 20 | 12.4622 | 537547.1779 | 0.025 | 1575.5 | 537547.2029 |  | 2.3369
Note on M3: Enter interest rate to use in the calculations
Note on A5: Enter WWTP nutrient removal technologies in this column.
Note on B5: Enter Total Nitrogen removal effiiciencies in column B.
Note on C5: Enter Total Phosphorus removal efficiencies in column C.
Note on D5: Enter design or Current flow in this column.
Note on E5: Enter annual initrogen and phosphorus nfluent concentrations in these columns.
Note on G5: Enter annual nitrogen and phosphorus effluent concentrations in these columns.
Note on K5: Enter initial capital expenses per cubic meter of capacity in this column.
Note on L5: Enter total initial capital expenses in this column.
Note on P5: Enter annual O&M expenses in this column.
Note on Q5: Enter annual O&M expenses in this column.
Note on R5: If total annualized cost is already known, enter it here, overiding the cell formulas.
Note on P13: Enter annual O&M expenses in this column.
Note on Q13: Enter annual O&M expenses in this column.

## Industrial Wastewater
Industrial Wastewater
[11 empty] | Discount Rate | 5%
Select Wastewater Technologies Upgrade Wastewater Treatment Plants for Nutrient Removal |  |  | Existing Loads and Reduction Potential Calculation | [6 empty] | Cost Data and Unit Costs Calculation
Wastewater Technologies Upgrade Wastewater Treatment Plants for Nutrient Removal | TN Efficiency, % | TP Efficiency, % | Design or Current Flow cubic meters/day | Influent Concentrations mg/L |  | Effluent Concentrations mg/L |  | Nutrient Load Reduced kg/year |  | CAPEX/Cubic meters/day (USD) | Total CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | Annual OpEx (USD) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus
[13 empty] | 0 | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
[13 empty] | 0 | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
Wastewater Technologies Build New Wastewater Treatment Plants | TN Efficiency, % | TP Efficiency, % | Design or Current Flow cubic meters/day | Influent Concentrations mg/L |  | Effluent Concentrations mg/L |  | Nutrient Load Reduced kg/year |  | CAPEX/Cubic meters/day (USD) | Total CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | OpEx/Cubic meters/day (USD) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus
[13 empty] | 0 | #VALUE! |  |  | #VALUE! | #VALUE!
[13 empty] | 0 | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
[13 empty] | 0 | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
[13 empty] | 0 | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
Note on M3: Enter interest rate to use in the calculations
Note on A5: Enter selected Best Management Pracices in this column.
Note on B5: Enter Total Nitrogen removal effiiciencies in column B.
Note on C5: Enter Total Phosphorus removal efficiencies in column C.
Note on D5: Enter design or Current flow in this column.
Note on E5: Enter annual initrogen and phosphorus nfluent concentrations in these columns.
Note on G5: Enter annual nitrogen and phosphorus effluent concentrations in these columns.
Note on K5: Enter initial capital expenses per cubic meter of capacity in this column.
Note on L5: Enter total initial capital expenses in this column.
Note on P5: Enter annual O&M expenses in this column.
Note on Q5: If total annualized cost is already known, enter it here, overiding the cell formulas.

## Urban Stormwater
Urban Stormwater
[10 empty] | Discount Rate | 5%
Select Stormwater Technologies |  |  | Existing Loads and Reduction Potential
Best Management Practices for Urban Stormwaer | TN Efficiency, % | TP Efficiency, % | Existing Loads, kg/yr |  | Reduction Potential kg/yr |  | Total CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | Annual OpEx (USD) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus
Dry Extended Detention Ponds - Nitrogen |  |  |  |  | 0 | 0 |  |  | 0 | #DIV/0! |  | #DIV/0! | #DIV/0!
Dry Extended Detention Ponds - Phosphorus |  |  |  |  | 0 | 0 |  |  | 0 | #DIV/0! |  | #DIV/0! |  | #REF!
Urban Infiltration Practices - Nitrogen | [8 empty] | 0 | #DIV/0! |  | #DIV/0! | #DIV/0!
Urban Infiltration Practices - Phosphorus | [8 empty] | 0 | #DIV/0! |  | #DIV/0! |  | #REF!
Urban Infiltration Practices - Nitrogen | [8 empty] | 0 | #DIV/0! |  | #DIV/0! | #DIV/0!
Urban Infiltration Practices - Phosphorus | [8 empty] | 0 | #DIV/0! |  | #DIV/0! |  | #REF!
Note on L4: Enter interest rate to use in the calculations
Note on A6: Enter selected Best Management Practices in this column.
Note on B6: Enter Total Nitrogen removal effiiciencies in column B.
Note on C6: Enter Total Phosphorus removal efficiencies in column C.
Note on H6: Enter total initial capital expenses in this column.
Note on L6: Enter annual O&M expenses in this column.
Note on M6: If total annualized cost is already known, enter it here, overiding the cell formulas.
Note on N6: If annualized unit costs are known, enter them in columns N and O, overiding the formulas.
Note on D7: Enter estimated stormwater nitrogen load in this column.
Note on E7: Enter estimated stormwater phosphorus load in this column.

## Agriculture & Aquaculture
Agriculture and Aquaculture
Discount Rate
Selected Best Management Practices |  |  | Existing Loads and Reduction Potential Calculation | [7 empty] | Cost Data and Unit Costs Calculation
Selected Best Management Practices Crops | TN Efficiency, % | TP Efficiency, % | Total Fertilizer Application, kg/year |  | Existing Nutrient Loss Rate Fraction |  | Existing Nutrient Loss kg/year |  | Potential Loss Reduction from BMP kg/year |  | CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | OPEX (USD/yr) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus
Grass Buffers | 29% |  | 885087 |  | 20% |  | 177017.4 |  | 51335.046 |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 7.04
Grass Buffers |  | 37% |  | 35399 |  | 10% |  | 3539.9 |  | 1309.763 | [7 empty] | 21.12
Forest Buffers | 42% |  | 885087 |  | 20% |  | 177017.4 |  | 74347.308 |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 6.82
Forest Buffers |  | 37% |  | 35399 |  | 10% |  | 3539.9 |  | 1309.763 | [7 empty] | 20.46
Wetlands Restoration | 16% |  | 885087 |  | 20% |  | 177017.4 |  | 28322.784 |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 3.3
Wetlands Restoration |  | 31% |  | 35399 |  | 10% |  | 3539.9 |  | 1097.369 | [7 empty] | 9.9
Improved Nutrient Management | 7% |  | 885087 |  | 20% |  | 177017.4 |  | 12391.218 |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 48.18
Selected Best Management Practices Livestock and Poultry | TN Efficiency, % | TP Efficiency, % |  |  |  |  | Existing Nutrient Load kg/year |  | Potential Loss Reduction from BMP kg/year |  | CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | OPEX (USD/yr) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN removal (USD/Kg) | Annualized Unit Cost of TP removal (USD/Kg)
[7 empty] | Nitrogen | Phosphorus | Nitrogen | Phosphorus
[9 empty] | 0 | 0 |  |  | #DIV/0! | #DIV/0! |  |  | #VALUE! | #VALUE!
Selected Best Management Practices Aquaculture | TN Efficiency, % | TP Efficiency, % |  |  |  |  | Existing Nutrient Loss kg/year |  | Potential Loss Reduction from BMP kg/year |  | CAPEX (USD) | Lifespan (yr) |  | Annualized CAPEX cost (USD) | OPEX (USD/yr) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN removal (USD/Kg) | Annualized Unit Cost of TP removal (USD/Kg)
[7 empty] | Nitrogen | Phosphorus | Nitrogen | Phosphorus
[9 empty] | 0 | 0
Note on M3: Enter interest rate to use in the calculations
Note on A5: Enter selected Best Management Pracices in this column.
Note on B5: Enter Total Nitrogen removal effiiciencies in column B.
Note on C5: Enter TN and TP efficiencies in columns B and C.
Note on D5: Enter annual fertilizer nitrogen and phosphorus application here.
Note on F5: Enter annual fertilizer nitrogen and phosphorus loss rate here.
Note on H5: Enter annual fertilizer nitrogen and phosphorus losses here.
Note on L5: Enter initial capital expensehere
Note on P5: Enter annual operation & maintenance expense here.
Note on Q5: If total annualized cost is already known, enter it here, overiding the cell formulas.
Note on R5: If annualized unit costs are already known, enter them in columns R and S, overriding the formulas.
Note on L23: Hua Wen: CAPEX per unit depends on the size of plant (capacity). Should include the cost for sewage network

## Phosphate Detergent Ban
Policy
[6 empty] | Fraction of P reaching surface waters |  |  | 0.5 |  | Discount Rate | 5%
|  |  | Existing Loads and Reduction Potential Calculation | [6 empty] | Cost Data and Unit Costs Calculation
Policy Action | TN Efficiency, % | TP Efficiency, % | Design or Current Flow cubic meters/day | Influent Concentrations mg/L |  | Effluent Concentrations mg/L |  | Nutrient Load Reduced kg/year |  | CAPEX/Cubic meters/day (USD) | Total CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | Annual OpEx/Cubic Meter (USD) | Annual OpEx (USD) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus
Phosphate Detergent Ban | [12 empty] | 0 | #VALUE! |  | 0 | #VALUE! |  | #VALUE!
Sewered Population |  |  | 14341 |  | 2.75 |  | 0 | 0 | 14394.7787 |  |  |  | 0 | #VALUE! |  | 0 | 51512 |  | 3.5785
Unsewered Population |  |  | 129067 |  | 2.75 |  |  | 0 | 64775.5006 | [7 empty] | 463604 |  | 7.1571
Total | [8 empty] | 79170.2794 | [8 empty] | Weighted Avg | 6.5064
Note on M3: Enter interest rate to use in the calculations
Note on A5: Enter WWTP nutrient removal technologies in this column.
Note on B5: Enter Total Nitrogen removal effiiciencies in column B.
Note on C5: Enter Total Phosphorus removal efficiencies in column C.
Note on D5: Enter design or Current flow in this column.
Note on E5: Enter annual initrogen and phosphorus nfluent concentrations in these columns.
Note on G5: Enter annual nitrogen and phosphorus effluent concentrations in these columns.
Note on K5: Enter initial capital expenses per cubic meter of capacity in this column.
Note on L5: Enter total initial capital expenses in this column.
Note on P5: Enter annual O&M expenses in this column.
Note on Q5: Enter annual O&M expenses in this column.
Note on R5: If total annualized cost is already known, enter it here, overiding the cell formulas.

## step 2,3,4 - industrial (hidden)
Step 2,3,4 Identify nutrient removal technologies/measures, their removal potentials/efficiencies, and associated costs
Group II Industrial wastewater solutions |  |  |  | Numbers are indicative only
Technologies listed here are non-exhaustive. Add new technologies/actions where applicable.
Fields require your input are marked with red color; Final results will appear in fields of green color.
2 Identify reduction technologies |  |  |  | 3 Calculate reduction potential |  |  | 4 Calculate reduction cost
Source | Technology | TN Removal efficiency (%) | TP Removal efficiency (%) | Amount of wastewater/sludge/stormwater (m3/yr) | TN reduction potential (kg/year) | TP reduction potential (kg/year) | TN concentration (mg/L) |  | Removal efficiency (%) | TP concentration (mg/L) |  | Removal efficiency (%) | Model plants
[7 empty] | Influent | Effluent |  | Influent | Effluent |  | Treatment capacity (m3/day) | CAPEX (USD) | Lifespan (yr) | Interest rate (%) | Annualized CAPEX cost (USD) | OPEX (USD/yr) | Total cost per year (USD/yr) | Current/designed usage (%) | TN removed (Kg/yr) | Cost of TN removal (USD/Kg) | TP removed (Kg/yr) | Cost of TP removal (USD/Kg)
food processing | wastewater treatment | 80% | 80% | 100000000 | 5725925.9259 | 1180740.7407
|  |  |  | Weighted average |  |  | 71.5741 | 16.7593 | 76.58% | 14.7593 | 1.5 | 89.84% | [9 empty] | 1.8367 |  | 7.6339
|  |  |  | Model plant 1 |  |  | 100 | 20 | 80% | 15 | 1 | 93.33% | 50000 | 10000000 | 20 | 3% | 672157.076 | 1000000 | 1672157.076 | 0.8 | 1168000 | 1.4316 | 204400 | 8.1808
|  |  |  | Model plant 2 |  |  | 81 | 15 | 81.48% | 10 | 2 | 80% | 10000 | 2000000 | 20 | 3% | 134431.4152 | 200000 | 334431.4152 | 0.9 | 216810 | 1.5425 | 26280 | 12.7257
|  |  |  | Model plant 3 |  |  | 40 | 20 | 50% | 18 | 1.5 | 91.67% | 8000 | 1500000 | 20 | 3% | 100823.5614 | 180000 | 280823.5614 | 0.75 | 43800 | 6.4115 | 36135 | 7.7715
|  |  |  | Model plant 4 |  |  | 30 | 10 | 66.67% | 10 | 2 | 80% | 20000 | 2500000 | 20 | 3% | 168039.269 | 250000 | 418039.269 | 0.6 | 87600 | 4.7721 | 35040 | 11.9303
|  |  |  | Model plant 5 |  |  | 50 | 15 | 70% | 20 | 2 | 90% | 20000 | 3000000 | 20 | 3% | 201647.1228 | 300000 | 501647.1228 | 0.9 | 229950 | 2.1815 | 118260 | 4.2419
|  |  |  | …… |  |  |  |  | 0 |  |  | 0 |  |  |  |  | - |  | - |  | 0 | 0 | 0 | 0
pulp and paper | wastewater treatment | 80% | 80% | 100000000 | 3600000 | 1180740.7407
|  |  |  | Weighted average |  |  | 45 | 11.2963 | 74.9% | 14.7593 | 1.5 | 89.84% | [9 empty] | 3.0091 |  | 7.6339
|  |  |  | Model plant 1 |  |  | 50 | 10 | 80% | 15 | 1 | 93.33% | 50000 | 10000000 | 20 | 3% | 672157.076 | 1000000 | 1672157.076 | 0.8 | 584000 | 2.8633 | 204400 | 8.1808
|  |  |  | Model plant 2 |  |  | 40 | 10 | 75% | 10 | 2 | 80% | 10000 | 2000000 | 20 | 3% | 134431.4152 | 200000 | 334431.4152 | 0.9 | 98550 | 3.3935 | 26280 | 12.7257
|  |  |  | Model plant 3 |  |  | 45 | 15 | 66.67% | 18 | 1.5 | 91.67% | 8000 | 1500000 | 20 | 3% | 100823.5614 | 180000 | 280823.5614 | 0.75 | 65700 | 4.2743 | 36135 | 7.7715
|  |  |  | Model plant 4 |  |  | 30 | 10 | 66.67% | 10 | 2 | 80% | 20000 | 2500000 | 20 | 3% | 168039.269 | 250000 | 418039.269 | 0.6 | 87600 | 4.7721 | 35040 | 11.9303
|  |  |  | Model plant 5 |  |  | 50 | 15 | 70% | 20 | 2 | 90% | 20000 | 3000000 | 20 | 3% | 201647.1228 | 300000 | 501647.1228 | 0.9 | 229950 | 2.1815 | 118260 | 4.2419
|  |  |  | …… |  |  |  |  | 0 |  |  | 0 |  |  |  |  | - |  | - |  | 0 | 0 | 0 | 0
dye/textile/garments | wastewater treatment | 80% | 80% | 100000000 | 3600000 | 1180740.7407
|  |  |  | Weighted average |  |  | 45 | 11.2963 | 74.9% | 14.7593 | 1.5 | 89.84% | [9 empty] | 3.0091 |  | 7.6339
|  |  |  | Model plant 1 |  |  | 50 | 10 | 80% | 15 | 1 | 93.33% | 50000 | 10000000 | 20 | 3% | 672157.076 | 1000000 | 1672157.076 | 0.8 | 584000 | 2.8633 | 204400 | 8.1808
|  |  |  | Model plant 2 |  |  | 40 | 10 | 75% | 10 | 2 | 80% | 10000 | 2000000 | 20 | 3% | 134431.4152 | 200000 | 334431.4152 | 0.9 | 98550 | 3.3935 | 26280 | 12.7257
|  |  |  | Model plant 3 |  |  | 45 | 15 | 66.67% | 18 | 1.5 | 91.67% | 8000 | 1500000 | 20 | 3% | 100823.5614 | 180000 | 280823.5614 | 0.75 | 65700 | 4.2743 | 36135 | 7.7715
|  |  |  | Model plant 4 |  |  | 30 | 10 | 66.67% | 10 | 2 | 80% | 20000 | 2500000 | 20 | 3% | 168039.269 | 250000 | 418039.269 | 0.6 | 87600 | 4.7721 | 35040 | 11.9303
|  |  |  | Model plant 5 |  |  | 50 | 15 | 70% | 20 | 2 | 90% | 20000 | 3000000 | 20 | 3% | 201647.1228 | 300000 | 501647.1228 | 0.9 | 229950 | 2.1815 | 118260 | 4.2419
|  |  |  | …… |  |  |  |  | 0 |  |  | 0 |  |  |  |  | - |  | - |  | 0 | 0 | 0 | 0
semicon | wastewater treatment | 80% | 80% | 100000000 | 3600000 | 1180740.7407
|  |  |  | Weighted average |  |  | 45 | 11.2963 | 74.9% | 14.7593 | 1.5 | 89.84% | [9 empty] | 3.0091 |  | 7.6339
|  |  |  | Model plant 1 |  |  | 50 | 10 | 80% | 15 | 1 | 93.33% | 50000 | 10000000 | 20 | 3% | 672157.076 | 1000000 | 1672157.076 | 0.8 | 584000 | 2.8633 | 204400 | 8.1808
|  |  |  | Model plant 2 |  |  | 40 | 10 | 75% | 10 | 2 | 80% | 10000 | 2000000 | 20 | 3% | 134431.4152 | 200000 | 334431.4152 | 0.9 | 98550 | 3.3935 | 26280 | 12.7257
|  |  |  | Model plant 3 |  |  | 45 | 15 | 66.67% | 18 | 1.5 | 91.67% | 8000 | 1500000 | 20 | 3% | 100823.5614 | 180000 | 280823.5614 | 0.75 | 65700 | 4.2743 | 36135 | 7.7715
|  |  |  | Model plant 4 |  |  | 30 | 10 | 66.67% | 10 | 2 | 80% | 20000 | 2500000 | 20 | 3% | 168039.269 | 250000 | 418039.269 | 0.6 | 87600 | 4.7721 | 35040 | 11.9303
|  |  |  | Model plant 5 |  |  | 50 | 15 | 70% | 20 | 2 | 90% | 20000 | 3000000 | 20 | 3% | 201647.1228 | 300000 | 501647.1228 | 0.9 | 229950 | 2.1815 | 118260 | 4.2419
|  |  |  | …… |  |  |  |  | 0 |  |  | 0 |  |  |  |  | - |  | - |  | 0 | 0 | 0 | 0
chemical | wastewater treatment | 80% | 80% | 100000000 | 3600000 | 1180740.7407
|  |  |  | Weighted average |  |  | 45 | 11.2963 | 74.9% | 14.7593 | 1.5 | 89.84% | [9 empty] | 3.0091 |  | 7.6339
|  |  |  | Model plant 1 |  |  | 50 | 10 | 80% | 15 | 1 | 93.33% | 50000 | 10000000 | 20 | 3% | 672157.076 | 1000000 | 1672157.076 | 0.8 | 584000 | 2.8633 | 204400 | 8.1808
|  |  |  | Model plant 2 |  |  | 40 | 10 | 75% | 10 | 2 | 80% | 10000 | 2000000 | 20 | 3% | 134431.4152 | 200000 | 334431.4152 | 0.9 | 98550 | 3.3935 | 26280 | 12.7257
|  |  |  | Model plant 3 |  |  | 45 | 15 | 66.67% | 18 | 1.5 | 91.67% | 8000 | 1500000 | 20 | 3% | 100823.5614 | 180000 | 280823.5614 | 0.75 | 65700 | 4.2743 | 36135 | 7.7715
|  |  |  | Model plant 4 |  |  | 30 | 10 | 66.67% | 10 | 2 | 80% | 20000 | 2500000 | 20 | 3% | 168039.269 | 250000 | 418039.269 | 0.6 | 87600 | 4.7721 | 35040 | 11.9303
|  |  |  | Model plant 5 |  |  | 50 | 15 | 70% | 20 | 2 | 90% | 20000 | 3000000 | 20 | 3% | 201647.1228 | 300000 | 501647.1228 | 0.9 | 229950 | 2.1815 | 118260 | 4.2419
|  |  |  | …… |  |  |  |  | 0 |  |  | 0 |  |  |  |  | - |  | - |  | 0 | 0 | 0 | 0
minerals
laundry
wood
rubber/leather
plastic/film/foam
industrial dumpsite
power plant
…
Note on D6: Hua Wen: Could be technical efficiency or average from model plants
Note on E6: Hua Wen: Could be technical efficiency or average from model plants
Note on K6: Hua Wen: Use technology limit if there's no monitoring data
Note on N6: Hua Wen: Use technology limit if there's no monitoring data
Note on P7: Hua Wen: CAPEX per unit depends on the size of plant (capacity). Should include the cost for sewage network

## Nitrogen Cost Curve
Nitrogen Cost Curve
Original data
| Build New WWTPs for Unsewered Urban Population | Wetlands Restoration | Upgrade Existing WWTPs to BNR | Forest Buffers | Grass Buffers | Improved Nutrient Management
Reduction potential (ton/year) | 207 | 28 | 63 | 74 | 51 | 12
Reduct. Pot, nearest 10 ton/yr | 210 | 30 | 60 | 70 | 50 | 10
Unit reduction cost (USD/ton) | 2.6 | 3.3 | 6.43 | 6.82 | 7.04 | 48.18
Highest Common Factor: | 10
Cumulative Reduction | 210 | 240 | 300 | 370 | 420 | 430
Template for cost curve
Unit Costs
| Build New WWTPs for Unsewered Urban Population | Wetlands Restoration | Upgrade Existing WWTPs to BNR | Forest Buffers | Grass Buffers | Improved Nutrient Management
Reduction potential
10 | 2.6
20 | 2.6
30 | 2.6
40 | 2.6
50 | 2.6
60 | 2.6
70 | 2.6
80 | 2.6
90 | 2.6
100 | 2.6
110 | 2.6
120 | 2.6 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
130 | 2.6
140 | 2.6
150 | 2.6
160 | 2.6
170 | 2.6
180 | 2.6
190 | 2.6
200 | 2.6
210 | 2.6
220 |  | 3.3
230 |  | 3.3
240 |  | 3.3
250 |  |  | 6.43
260 |  |  | 6.43
270 |  |  | 6.43
280 |  |  | 6.43
290 |  |  | 6.43
300 |  |  | 6.43
310 |  |  |  | 6.82
320 |  |  |  | 6.82
330 |  |  |  | 6.82
340 |  |  |  | 6.82
350 |  |  |  | 6.82
360 |  |  |  | 6.82
370 |  |  |  | 6.82
380 |  |  |  |  | 7.04
390 |  |  |  |  | 7.04
400 |  |  |  |  | 7.04
410 |  |  |  |  | 7.04
420 |  |  |  |  | 7.04
430 | [5 empty] | 48.2
440
450
460
470
480
490
500
510
520
530
540
550
560
570
580
590
600
610
620
630
640
650
660
670
680
690
700
710
720
730
740
750
760
770
780
790
800
810
820
830
840
850
860
870
880
890
900
910
920
930
940
950
960
970
980
990
1000
210
30
70
10
60
50

## Phosphorus Cost Curve
Phosphorus Cost Curve
Original data
| Build New WWTPs for Unsewered Urban Population | Phosphate Detergent Ban | Wetlands Restoration | Forest Buffers | Grass Buffers | Upgrade Existing WWTPs to BNR
Reduction potential (kg/year) | 230.23 | 79.17 | 1.097 | 1.31 | 1310 | 57.056
Reduct. Pot, nearest 1000 kg/yr | 230 | 79 | 1 | 1 | 1 | 57
Unit reduction cost (USD/kg) | 2.34 | 6.51 | 9.9 | 20.46 | 21.12 | 21.84
Highest Common Factor: | 1
Cumulative Reduction | 230 | 309 | 310 | 311 | 312 | 369
Template for cost curve
Unit Costs
| Build New WWTPs for Unsewered Urban Population | Phosphate Detergent Ban | Wetlands Restoration | Forest Buffers | Grass Buffers | Upgrade Existing WWTPs to BNR
Reduction potential
1 | 2.34
2 | 2.34
3 | 2.34
4 | 2.34
5 | 2.34
6 | 2.34
7 | 2.34
8 | 2.34
9 | 2.34
10 | 2.34
11 | 2.34
12 | 2.34
13 | 2.34
14 | 2.34
15 | 2.34
16 | 2.34
17 | 2.34
18 | 2.34
19 | 2.34
20 | 2.34
21 | 2.34
22 | 2.34
23 | 2.34
24 | 2.34
25 | 2.34
26 | 2.34
27 | 2.34
28 | 2.34
29 | 2.34
30 | 2.34
31 | 2.34
32 | 2.34
33 | 2.34
34 | 2.34
35 | 2.34
36 | 2.34
37 | 2.34
38 | 2.34
39 | 2.34
40 | 2.34
41 | 2.34
42 | 2.34
43 | 2.34
44 | 2.34
45 | 2.34
46 | 2.34
47 | 2.34
48 | 2.34
49 | 2.34
50 | 2.34
51 | 2.34
52 | 2.34
53 | 2.34
54 | 2.34
55 | 2.34
56 | 2.34
57 | 2.34
58 | 2.34
59 | 2.34
60 | 2.34
61 | 2.34
62 | 2.34
63 | 2.34
64 | 2.34
65 | 2.34
66 | 2.34
67 | 2.34
68 | 2.34
69 | 2.34
70 | 2.34
71 | 2.34
72 | 2.34
73 | 2.34
74 | 2.34
75 | 2.34
76 | 2.34
77 | 2.34
78 | 2.34
79 | 2.34
80 | 2.34
81 | 2.34
82 | 2.34
83 | 2.34
84 | 2.34
85 | 2.34
86 | 2.34
87 | 2.34
88 | 2.34
89 | 2.34
90 | 2.34
91 | 2.34
92 | 2.34
93 | 2.34
94 | 2.34
95 | 2.34
96 | 2.34
97 | 2.34
98 | 2.34
99 | 2.34
100 | 2.34
101 | 2.34
102 | 2.34
103 | 2.34
104 | 2.34
105 | 2.34
106 | 2.34
107 | 2.34
108 | 2.34
109 | 2.34
110 | 2.34
111 | 2.34
112 | 2.34
113 | 2.34
114 | 2.34
115 | 2.34
116 | 2.34
117 | 2.34
118 | 2.34
119 | 2.34
120 | 2.34
121 | 2.34
122 | 2.34
123 | 2.34
124 | 2.34
125 | 2.34
126 | 2.34
127 | 2.34
128 | 2.34
129 | 2.34
130 | 2.34
131 | 2.34
132 | 2.34
133 | 2.34
134 | 2.34
135 | 2.34
136 | 2.34
137 | 2.34
138 | 2.34
139 | 2.34
140 | 2.34
141 | 2.34
142 | 2.34
143 | 2.34
144 | 2.34
145 | 2.34
146 | 2.34
147 | 2.34
148 | 2.34
149 | 2.34
150 | 2.34
151 | 2.34
152 | 2.34
153 | 2.34
154 | 2.34
155 | 2.34
156 | 2.34
157 | 2.34
158 | 2.34
159 | 2.34
160 | 2.34
161 | 2.34
162 | 2.34
163 | 2.34
164 | 2.34
165 | 2.34
166 | 2.34
167 | 2.34
168 | 2.34
169 | 2.34
170 | 2.34
171 | 2.34
172 | 2.34
173 | 2.34
174 | 2.34
175 | 2.34
176 | 2.34
177 | 2.34
178 | 2.34
179 | 2.34
180 | 2.34
181 | 2.34
182 | 2.34
183 | 2.34
184 | 2.34
185 | 2.34
186 | 2.34
187 | 2.34
188 | 2.34
189 | 2.34
190 | 2.34
191 | 2.34
192 | 2.34
193 | 2.34
194 | 2.34
195 | 2.34
196 | 2.34
197 | 2.34
198 | 2.34
199 | 2.34
200 | 2.34
201 | 2.34
202 | 2.34
203 | 2.34
204 | 2.34
205 | 2.34
206 | 2.34
207 | 2.34
208 | 2.34
209 | 2.34
210 | 2.34
211 | 2.34
212 | 2.34
213 | 2.34
214 | 2.34
215 | 2.34
216 | 2.34
217 | 2.34
218 | 2.34
219 | 2.34
220 | 2.34
221 | 2.34
222 | 2.34
223 | 2.34
224 | 2.34
225 | 2.34
226 | 2.34
227 | 2.34
228 | 2.34
229 | 2.34
230 | 2.34
231 |  | 6.51
232 |  | 6.51
233 |  | 6.51
234 |  | 6.51
235 |  | 6.51
236 |  | 6.51
237 |  | 6.51
238 |  | 6.51
239 |  | 6.51
240 |  | 6.51
241 |  | 6.51
242 |  | 6.51
243 |  | 6.51
244 |  | 6.51
245 |  | 6.51
246 |  | 6.51
247 |  | 6.51
248 |  | 6.51
249 |  | 6.51
250 |  | 6.51
251 |  | 6.51
252 |  | 6.51
253 |  | 6.51
254 |  | 6.51
255 |  | 6.51
256 |  | 6.51
257 |  | 6.51
258 |  | 6.51
259 |  | 6.51
260 |  | 6.51
261 |  | 6.51
262 |  | 6.51
263 |  | 6.51
264 |  | 6.51
265 |  | 6.51
266 |  | 6.51
267 |  | 6.51
268 |  | 6.51
269 |  | 6.51
270 |  | 6.51
271 |  | 6.51
272 |  | 6.51
273 |  | 6.51
274 |  | 6.51
275 |  | 6.51
276 |  | 6.51
277 |  | 6.51
278 |  | 6.51
279 |  | 6.51
280 |  | 6.51
281 |  | 6.51
282 |  | 6.51
283 |  | 6.51
284 |  | 6.51
285 |  | 6.51
286 |  | 6.51
287 |  | 6.51
288 |  | 6.51
289 |  | 6.51
290 |  | 6.51
291 |  | 6.51
292 |  | 6.51
293 |  | 6.51
294 |  | 6.51
295 |  | 6.51
296 |  | 6.51
297 |  | 6.51
298 |  | 6.51
299 |  | 6.51
300 |  | 6.51
301 |  | 6.51
302 |  | 6.51
303 |  | 6.51
304 |  | 6.51
305 |  | 6.51
306 |  | 6.51
307 |  | 6.51
308 |  | 6.51
309 |  | 6.51
310 |  |  | 9.9
311 |  |  |  | 20.46
312 |  |  |  |  | 21.12
313 | [5 empty] | 21.84
314 | [5 empty] | 21.84
315 | [5 empty] | 21.84
316 | [5 empty] | 21.84
317 | [5 empty] | 21.84
318 | [5 empty] | 21.84
319 | [5 empty] | 21.84
320 | [5 empty] | 21.84
321 | [5 empty] | 21.84
322 | [5 empty] | 21.84
323 | [5 empty] | 21.84
324 | [5 empty] | 21.84
325 | [5 empty] | 21.84
326 | [5 empty] | 21.84
327 | [5 empty] | 21.84
328 | [5 empty] | 21.84
329 | [5 empty] | 21.84
330 | [5 empty] | 21.84
331 | [5 empty] | 21.84
332 | [5 empty] | 21.84
333 | [5 empty] | 21.84
334 | [5 empty] | 21.84
335 | [5 empty] | 21.84
336 | [5 empty] | 21.84
337 | [5 empty] | 21.84
338 | [5 empty] | 21.84
339 | [5 empty] | 21.84
340 | [5 empty] | 21.84
341 | [5 empty] | 21.84
342 | [5 empty] | 21.84
343 | [5 empty] | 21.84
344 | [5 empty] | 21.84
345 | [5 empty] | 21.84
346 | [5 empty] | 21.84
347 | [5 empty] | 21.84
348 | [5 empty] | 21.84
349 | [5 empty] | 21.84
350 | [5 empty] | 21.84
351 | [5 empty] | 21.84
352 | [5 empty] | 21.84
353 | [5 empty] | 21.84
354 | [5 empty] | 21.84
355 | [5 empty] | 21.84
356 | [5 empty] | 21.84
357 | [5 empty] | 21.84
358 | [5 empty] | 21.84
359 | [5 empty] | 21.84
360 | [5 empty] | 21.84
361 | [5 empty] | 21.84
362 | [5 empty] | 21.84
363 | [5 empty] | 21.84
364 | [5 empty] | 21.84
365 | [5 empty] | 21.84
366 | [5 empty] | 21.84
367 | [5 empty] | 21.84
368 | [5 empty] | 21.84
369 | [5 empty] | 21.84
370
371
372
373
374
375
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393
394
395
396
397
398
399
400
401
402
403
404
405
406
407
408
409
410
411
412
413
414
415
416
417
418
419
420
421
422
423
424
425
426
427
428
429
430
431
432
433
434
435
436
437
438
439
440
441
442
443
444
445
446
447
448
449
450
451
452
453
454
455
456
457
458
459
460
461
462
463
464
465
466
467
468
469
470
471
472
473
474
475
476
477
478
479
480
481
482
483
484