## Sources
Manila Bay Pollution Reduction Opportunity Analysis
Domestic Sources | Industrial | Urban Stormwater | Agricultural | Other
Untreated sewage | Food processing | Runoff | Fertilizer | Phosphate Detergent Ban
Wastewater treatment plant discharge | Meat processing | Trash | Livestock manure | Atmospheric deposition
Sludge disposal | Pulp and paper | Other, please specify: | Poultry litter | Other, please specify:
Landfill leachate | Beverage |  | Aquaculture
Septic tank effluent | Dye/textile/garments |  | Other, please specify:
Other, please specify: | Semicon
Metal
Chemical
Minerals
Laundry
Wood
Rubber/leather
Plastic/film/foam
Industrial dumpsite
Power plant
Other, please specify:

## Domestic Wastewater
Domestic Wastewater
[11 empty] | Discount Rate | 5%
Select Wastewater Technologies Upgrade Wastewater Treatment Plants for Nutrient Removal |  |  | Existing Loads and Reduction Potential Calculation | [6 empty] | Cost Data and Unit Costs Calculation
Wastewater Technologies Upgrade Wastewater Treatment Plants for Nutrient Removal | TN Efficiency, % | TP Efficiency, % | Design or Current Flow cubic meters/day | Influent Concentrations mg/L |  | Effluent Concentrations mg/L |  | Nutrient Load Reduced kg/year |  | CAPEX/Cubic meters/day (USD) | Total CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | Annual OpEx/Cubic Meter (USD) | Annual OpEx (USD) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus
Biological Nitrogen Removal |  |  | 242849.5375 | 15 |  | 3 |  | 1063680.9744 | 0 | 351 | 85240187.6751 | 20 | 12.4622 | 6839893.1917 | 0.0304 | 7382.6259 | 6839893.2221 | 6.4304
Biological Phosphorus Removal |  |  | 242849.5375 |  | 11 |  | 0.1 | 0 | 966176.8851 | 1083 | 263006049.1515 | 20 | 12.4622 | 21104285.8307 | 0.026 | 6314.088 | 21104285.8567 |  | 21.8431
Wastewater Technologies Build New Wastewater Treatment Plants | TN Efficiency, % | TP Efficiency, % | Design or Current Flow cubic meters/day | Influent Concentrations mg/L |  | Effluent Concentrations mg/L |  | Nutrient Load Reduced kg/year |  | CAPEX/Cubic meters/day (USD) | Total CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | Annual OpEx/Cubic Meter (USD) | Annual OpEx (USD) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus
Sequencing Batch Reactor |  |  | 645010.5268 | 15 |  | 6 |  | 2118859.5806 | 0 | 106.3 | 68564619.0024 | 20 | 12.4622 | 5501802.4185 | 0.025 | 16125.2632 | 5501802.4435 | 2.5966
Sequencing Batch Reactor |  |  | 645010.5268 |  | 11 |  | 1 | 0 | 2354288.4229 | 106.3 | 68564619.0024 | 20 | 12.4622 | 5501802.4185 | 0.025 | 16125.2632 | 5501802.4435 |  | 2.3369
Note on M3: Enter interest rate to use in the calculations
Note on A5: Enter WWTP nutrient removal technologies in this column.
Note on B5: Enter Total Nitrogen removal effiiciencies in column B.
Note on C5: Enter Total Phosphorus removal efficiencies in column C.
Note on D5: Enter design or Current flow in this column.
Note on E5: Enter annual initrogen and phosphorus nfluent concentrations in these columns.
Note on G5: Enter annual nitrogen and phosphorus effluent concentrations in these columns.
Note on K5: Enter initial capital expenses per cubic meter of capacity in this column.
Note on L5: Enter total initial capital expenses in this column.
Note on P5: Enter annual O&M expenses in this column.
Note on Q5: Enter annual O&M expenses in this column.
Note on R5: If total annualized cost is already known, enter it here, overiding the cell formulas.
Note on P13: Enter annual O&M expenses in this column.
Note on Q13: Enter annual O&M expenses in this column.

## Industrial Wastewater
Industrial Wastewater
[11 empty] | Discount Rate | 5%
Select Wastewater Technologies Upgrade Wastewater Treatment Plants for Nutrient Removal |  |  | Existing Loads and Reduction Potential Calculation | [6 empty] | Cost Data and Unit Costs Calculation
Wastewater Technologies Upgrade Wastewater Treatment Plants for Nutrient Removal | TN Efficiency, % | TP Efficiency, % | Design or Current Flow cubic meters/day | Influent Concentrations mg/L |  | Effluent Concentrations mg/L |  | Nutrient Load Reduced kg/year |  | CAPEX/Cubic meters/day (USD) | Total CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | Annual OpEx (USD) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus
[13 empty] | 0 | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
[13 empty] | 0 | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
Wastewater Technologies Build New Wastewater Treatment Plants | TN Efficiency, % | TP Efficiency, % | Design or Current Flow cubic meters/day | Influent Concentrations mg/L |  | Effluent Concentrations mg/L |  | Nutrient Load Reduced kg/year |  | CAPEX/Cubic meters/day (USD) | Total CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | OpEx/Cubic meters/day (USD) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus
[13 empty] | 0 | #VALUE! |  |  | #VALUE! | #VALUE!
[13 empty] | 0 | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
[13 empty] | 0 | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
[13 empty] | 0 | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
Note on M3: Enter interest rate to use in the calculations
Note on A5: Enter selected Best Management Pracices in this column.
Note on B5: Enter Total Nitrogen removal effiiciencies in column B.
Note on C5: Enter Total Phosphorus removal efficiencies in column C.
Note on D5: Enter design or Current flow in this column.
Note on E5: Enter annual initrogen and phosphorus nfluent concentrations in these columns.
Note on G5: Enter annual nitrogen and phosphorus effluent concentrations in these columns.
Note on K5: Enter initial capital expenses per cubic meter of capacity in this column.
Note on L5: Enter total initial capital expenses in this column.
Note on P5: Enter annual O&M expenses in this column.
Note on Q5: If total annualized cost is already known, enter it here, overiding the cell formulas.

## Urban Stormwater
Urban Stormwater
[10 empty] | Discount Rate | 5%
Select Stormwater Technologies |  |  | Existing Loads and Reduction Potential
Best Management Practices for Urban Stormwaer | TN Efficiency, % | TP Efficiency, % | Existing Loads, kg/yr |  | Reduction Potential kg/yr |  | Total CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | Annual OpEx (USD) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus
Dry Extended Detention Ponds - Nitrogen |  |  |  |  | 0 | 0 |  |  | 0 | #DIV/0! |  | #DIV/0! | #DIV/0!
Dry Extended Detention Ponds - Phosphorus |  |  |  |  | 0 | 0 |  |  | 0 | #DIV/0! |  | #DIV/0! |  | #REF!
Urban Infiltration Practices - Nitrogen | [8 empty] | 0 | #DIV/0! |  | #DIV/0! | #DIV/0!
Urban Infiltration Practices - Phosphorus | [8 empty] | 0 | #DIV/0! |  | #DIV/0! |  | #REF!
Urban Infiltration Practices - Nitrogen | [8 empty] | 0 | #DIV/0! |  | #DIV/0! | #DIV/0!
Urban Infiltration Practices - Phosphorus | [8 empty] | 0 | #DIV/0! |  | #DIV/0! |  | #REF!
Note on L4: Enter interest rate to use in the calculations
Note on A6: Enter selected Best Management Practices in this column.
Note on B6: Enter Total Nitrogen removal effiiciencies in column B.
Note on C6: Enter Total Phosphorus removal efficiencies in column C.
Note on H6: Enter total initial capital expenses in this column.
Note on L6: Enter annual O&M expenses in this column.
Note on M6: If total annualized cost is already known, enter it here, overiding the cell formulas.
Note on N6: If annualized unit costs are known, enter them in columns N and O, overiding the formulas.
Note on D7: Enter estimated stormwater nitrogen load in this column.
Note on E7: Enter estimated stormwater phosphorus load in this column.

## Agriculture & Aquaculture
Agriculture and Aquaculture
Discount Rate
Selected Best Management Practices |  |  | Existing Loads and Reduction Potential Calculation | [7 empty] | Cost Data and Unit Costs Calculation
Selected Best Management Practices Crops | TN Efficiency, % | TP Efficiency, % | Total Fertilizer Application, kg/year |  | Existing Nutrient Loss Rate Fraction |  | Existing Nutrient Loss kg/year |  | Potential Loss Reduction from BMP kg/year |  | CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | OPEX (USD/yr) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus
Grass Buffers | 29% |  | 61943957 |  | 20% |  | 12388791.4 |  | 3592749.506 |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 7.04
Grass Buffers |  | 37% |  | 12863816 |  | 10% |  | 1286381.6 |  | 475961.192 | [7 empty] | 21.12
Forest Buffers | 42% |  | 61943957 |  | 20% |  | 12388791.4 |  | 5203292.388 |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 6.82
Forest Buffers |  | 37% |  | 12863816 |  | 10% |  | 1286381.6 |  | 475961.192 | [7 empty] | 20.46
Wetlands Restoration | 16% |  | 61943957 |  | 20% |  | 12388791.4 |  | 1982206.624 |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 3.3
Wetlands Restoration |  | 31% |  | 12863816 |  | 10% |  | 1286381.6 |  | 398778.296 | [7 empty] | 9.9
Improved Nutrient Management | 7% |  | 61943957 |  | 20% |  | 12388791.4 |  | 867215.398 |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 48.18
Selected Best Management Practices Livestock and Poultry | TN Efficiency, % | TP Efficiency, % |  |  |  |  | Existing Nutrient Load kg/year |  | Potential Loss Reduction from BMP kg/year |  | CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | OPEX (USD/yr) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN removal (USD/Kg) | Annualized Unit Cost of TP removal (USD/Kg)
[7 empty] | Nitrogen | Phosphorus | Nitrogen | Phosphorus
[9 empty] | 0 | 0 |  |  | #DIV/0! | #DIV/0! |  |  | #VALUE! | #VALUE!
Selected Best Management Practices Aquaculture | TN Efficiency, % | TP Efficiency, % |  |  |  |  | Existing Nutrient Loss kg/year |  | Potential Loss Reduction from BMP kg/year |  | CAPEX (USD) | Lifespan (yr) |  | Annualized CAPEX cost (USD) | OPEX (USD/yr) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN removal (USD/Kg) | Annualized Unit Cost of TP removal (USD/Kg)
[7 empty] | Nitrogen | Phosphorus | Nitrogen | Phosphorus
[9 empty] | 0 | 0
Note on M3: Enter interest rate to use in the calculations
Note on A5: Enter selected Best Management Pracices in this column.
Note on B5: Enter Total Nitrogen removal effiiciencies in column B.
Note on C5: Enter TN and TP efficiencies in columns B and C.
Note on D5: Enter annual fertilizer nitrogen and phosphorus application here.
Note on F5: Enter annual fertilizer nitrogen and phosphorus loss rate here.
Note on H5: Enter annual fertilizer nitrogen and phosphorus losses here.
Note on L5: Enter initial capital expensehere
Note on P5: Enter annual operation & maintenance expense here.
Note on Q5: If total annualized cost is already known, enter it here, overiding the cell formulas.
Note on R5: If annualized unit costs are already known, enter them in columns R and S, overriding the formulas.
Note on L23: Hua Wen: CAPEX per unit depends on the size of plant (capacity). Should include the cost for sewage network

## Phosphate Detergent Ban
Policy
[6 empty] | Fraction of P reaching surface waters |  |  | 0.5 |  | Discount Rate | 5%
|  |  | Existing Loads and Reduction Potential Calculation | [6 empty] | Cost Data and Unit Costs Calculation
Policy Action | TN Efficiency, % | TP Efficiency, % | Design or Current Flow cubic meters/day | Influent Concentrations mg/L |  | Effluent Concentrations mg/L |  | Nutrient Load Reduced kg/year |  | CAPEX/Cubic meters/day (USD) | Total CAPEX (USD) | Lifespan (yr) | Annuity Factor | Annualized CAPEX cost (USD) | Annual OpEx/Cubic Meter (USD) | Annual OpEx (USD) | Total Annualized cost per year (USD/yr) | Annualized Unit Cost of TN load reduction (USD/Kg) | Annualized Unit Cost of TP load reduction (USD/Kg)
|  |  |  | Nitrogen | Phosphorus | Nitrogen | Phosphorus | Nitrogen | Phosphorus
` | [12 empty] | 0 | #VALUE! |  | 0 | #VALUE! |  | #VALUE!
Sewered Population |  |  | 244966 |  | 2.75 |  | 0 | 0 | 245884.6225 |  |  |  | 0 | #VALUE! |  | 0 | 879908 |  | 3.5785
Unsewered Population |  |  | 1055652 |  | 2.75 |  |  | 0 | 529805.3475 | [7 empty] | 3791853 |  | 7.1571
Total | [8 empty] | 775689.97 | [9 empty] | 6.0227
Note on M3: Enter interest rate to use in the calculations
Note on A5: Enter WWTP nutrient removal technologies in this column.
Note on B5: Enter Total Nitrogen removal effiiciencies in column B.
Note on C5: Enter Total Phosphorus removal efficiencies in column C.
Note on D5: Enter design or Current flow in this column.
Note on E5: Enter annual initrogen and phosphorus nfluent concentrations in these columns.
Note on G5: Enter annual nitrogen and phosphorus effluent concentrations in these columns.
Note on K5: Enter initial capital expenses per cubic meter of capacity in this column.
Note on L5: Enter total initial capital expenses in this column.
Note on P5: Enter annual O&M expenses in this column.
Note on Q5: Enter annual O&M expenses in this column.
Note on R5: If total annualized cost is already known, enter it here, overiding the cell formulas.

## step 2,3,4 - industrial (hidden)
Step 2,3,4 Identify nutrient removal technologies/measures, their removal potentials/efficiencies, and associated costs
Group II Industrial wastewater solutions |  |  |  | Numbers are indicative only
Technologies listed here are non-exhaustive. Add new technologies/actions where applicable.
Fields require your input are marked with red color; Final results will appear in fields of green color.
2 Identify reduction technologies |  |  |  | 3 Calculate reduction potential |  |  | 4 Calculate reduction cost
Source | Technology | TN Removal efficiency (%) | TP Removal efficiency (%) | Amount of wastewater/sludge/stormwater (m3/yr) | TN reduction potential (kg/year) | TP reduction potential (kg/year) | TN concentration (mg/L) |  | Removal efficiency (%) | TP concentration (mg/L) |  | Removal efficiency (%) | Model plants
[7 empty] | Influent | Effluent |  | Influent | Effluent |  | Treatment capacity (m3/day) | CAPEX (USD) | Lifespan (yr) | Interest rate (%) | Annualized CAPEX cost (USD) | OPEX (USD/yr) | Total cost per year (USD/yr) | Current/designed usage (%) | TN removed (Kg/yr) | Cost of TN removal (USD/Kg) | TP removed (Kg/yr) | Cost of TP removal (USD/Kg)
food processing | wastewater treatment | 80% | 80% | 100000000 | 5725925.9259 | 1180740.7407
|  |  |  | Weighted average |  |  | 71.5741 | 16.7593 | 76.58% | 14.7593 | 1.5 | 89.84% | [9 empty] | 1.8367 |  | 7.6339
|  |  |  | Model plant 1 |  |  | 100 | 20 | 80% | 15 | 1 | 93.33% | 50000 | 10000000 | 20 | 3% | 672157.076 | 1000000 | 1672157.076 | 0.8 | 1168000 | 1.4316 | 204400 | 8.1808
|  |  |  | Model plant 2 |  |  | 81 | 15 | 81.48% | 10 | 2 | 80% | 10000 | 2000000 | 20 | 3% | 134431.4152 | 200000 | 334431.4152 | 0.9 | 216810 | 1.5425 | 26280 | 12.7257
|  |  |  | Model plant 3 |  |  | 40 | 20 | 50% | 18 | 1.5 | 91.67% | 8000 | 1500000 | 20 | 3% | 100823.5614 | 180000 | 280823.5614 | 0.75 | 43800 | 6.4115 | 36135 | 7.7715
|  |  |  | Model plant 4 |  |  | 30 | 10 | 66.67% | 10 | 2 | 80% | 20000 | 2500000 | 20 | 3% | 168039.269 | 250000 | 418039.269 | 0.6 | 87600 | 4.7721 | 35040 | 11.9303
|  |  |  | Model plant 5 |  |  | 50 | 15 | 70% | 20 | 2 | 90% | 20000 | 3000000 | 20 | 3% | 201647.1228 | 300000 | 501647.1228 | 0.9 | 229950 | 2.1815 | 118260 | 4.2419
|  |  |  | …… |  |  |  |  | 0 |  |  | 0 |  |  |  |  | - |  | - |  | 0 | 0 | 0 | 0
pulp and paper | wastewater treatment | 80% | 80% | 100000000 | 3600000 | 1180740.7407
|  |  |  | Weighted average |  |  | 45 | 11.2963 | 74.9% | 14.7593 | 1.5 | 89.84% | [9 empty] | 3.0091 |  | 7.6339
|  |  |  | Model plant 1 |  |  | 50 | 10 | 80% | 15 | 1 | 93.33% | 50000 | 10000000 | 20 | 3% | 672157.076 | 1000000 | 1672157.076 | 0.8 | 584000 | 2.8633 | 204400 | 8.1808
|  |  |  | Model plant 2 |  |  | 40 | 10 | 75% | 10 | 2 | 80% | 10000 | 2000000 | 20 | 3% | 134431.4152 | 200000 | 334431.4152 | 0.9 | 98550 | 3.3935 | 26280 | 12.7257
|  |  |  | Model plant 3 |  |  | 45 | 15 | 66.67% | 18 | 1.5 | 91.67% | 8000 | 1500000 | 20 | 3% | 100823.5614 | 180000 | 280823.5614 | 0.75 | 65700 | 4.2743 | 36135 | 7.7715
|  |  |  | Model plant 4 |  |  | 30 | 10 | 66.67% | 10 | 2 | 80% | 20000 | 2500000 | 20 | 3% | 168039.269 | 250000 | 418039.269 | 0.6 | 87600 | 4.7721 | 35040 | 11.9303
|  |  |  | Model plant 5 |  |  | 50 | 15 | 70% | 20 | 2 | 90% | 20000 | 3000000 | 20 | 3% | 201647.1228 | 300000 | 501647.1228 | 0.9 | 229950 | 2.1815 | 118260 | 4.2419
|  |  |  | …… |  |  |  |  | 0 |  |  | 0 |  |  |  |  | - |  | - |  | 0 | 0 | 0 | 0
dye/textile/garments | wastewater treatment | 80% | 80% | 100000000 | 3600000 | 1180740.7407
|  |  |  | Weighted average |  |  | 45 | 11.2963 | 74.9% | 14.7593 | 1.5 | 89.84% | [9 empty] | 3.0091 |  | 7.6339
|  |  |  | Model plant 1 |  |  | 50 | 10 | 80% | 15 | 1 | 93.33% | 50000 | 10000000 | 20 | 3% | 672157.076 | 1000000 | 1672157.076 | 0.8 | 584000 | 2.8633 | 204400 | 8.1808
|  |  |  | Model plant 2 |  |  | 40 | 10 | 75% | 10 | 2 | 80% | 10000 | 2000000 | 20 | 3% | 134431.4152 | 200000 | 334431.4152 | 0.9 | 98550 | 3.3935 | 26280 | 12.7257
|  |  |  | Model plant 3 |  |  | 45 | 15 | 66.67% | 18 | 1.5 | 91.67% | 8000 | 1500000 | 20 | 3% | 100823.5614 | 180000 | 280823.5614 | 0.75 | 65700 | 4.2743 | 36135 | 7.7715
|  |  |  | Model plant 4 |  |  | 30 | 10 | 66.67% | 10 | 2 | 80% | 20000 | 2500000 | 20 | 3% | 168039.269 | 250000 | 418039.269 | 0.6 | 87600 | 4.7721 | 35040 | 11.9303
|  |  |  | Model plant 5 |  |  | 50 | 15 | 70% | 20 | 2 | 90% | 20000 | 3000000 | 20 | 3% | 201647.1228 | 300000 | 501647.1228 | 0.9 | 229950 | 2.1815 | 118260 | 4.2419
|  |  |  | …… |  |  |  |  | 0 |  |  | 0 |  |  |  |  | - |  | - |  | 0 | 0 | 0 | 0
semicon | wastewater treatment | 80% | 80% | 100000000 | 3600000 | 1180740.7407
|  |  |  | Weighted average |  |  | 45 | 11.2963 | 74.9% | 14.7593 | 1.5 | 89.84% | [9 empty] | 3.0091 |  | 7.6339
|  |  |  | Model plant 1 |  |  | 50 | 10 | 80% | 15 | 1 | 93.33% | 50000 | 10000000 | 20 | 3% | 672157.076 | 1000000 | 1672157.076 | 0.8 | 584000 | 2.8633 | 204400 | 8.1808
|  |  |  | Model plant 2 |  |  | 40 | 10 | 75% | 10 | 2 | 80% | 10000 | 2000000 | 20 | 3% | 134431.4152 | 200000 | 334431.4152 | 0.9 | 98550 | 3.3935 | 26280 | 12.7257
|  |  |  | Model plant 3 |  |  | 45 | 15 | 66.67% | 18 | 1.5 | 91.67% | 8000 | 1500000 | 20 | 3% | 100823.5614 | 180000 | 280823.5614 | 0.75 | 65700 | 4.2743 | 36135 | 7.7715
|  |  |  | Model plant 4 |  |  | 30 | 10 | 66.67% | 10 | 2 | 80% | 20000 | 2500000 | 20 | 3% | 168039.269 | 250000 | 418039.269 | 0.6 | 87600 | 4.7721 | 35040 | 11.9303
|  |  |  | Model plant 5 |  |  | 50 | 15 | 70% | 20 | 2 | 90% | 20000 | 3000000 | 20 | 3% | 201647.1228 | 300000 | 501647.1228 | 0.9 | 229950 | 2.1815 | 118260 | 4.2419
|  |  |  | …… |  |  |  |  | 0 |  |  | 0 |  |  |  |  | - |  | - |  | 0 | 0 | 0 | 0
chemical | wastewater treatment | 80% | 80% | 100000000 | 3600000 | 1180740.7407
|  |  |  | Weighted average |  |  | 45 | 11.2963 | 74.9% | 14.7593 | 1.5 | 89.84% | [9 empty] | 3.0091 |  | 7.6339
|  |  |  | Model plant 1 |  |  | 50 | 10 | 80% | 15 | 1 | 93.33% | 50000 | 10000000 | 20 | 3% | 672157.076 | 1000000 | 1672157.076 | 0.8 | 584000 | 2.8633 | 204400 | 8.1808
|  |  |  | Model plant 2 |  |  | 40 | 10 | 75% | 10 | 2 | 80% | 10000 | 2000000 | 20 | 3% | 134431.4152 | 200000 | 334431.4152 | 0.9 | 98550 | 3.3935 | 26280 | 12.7257
|  |  |  | Model plant 3 |  |  | 45 | 15 | 66.67% | 18 | 1.5 | 91.67% | 8000 | 1500000 | 20 | 3% | 100823.5614 | 180000 | 280823.5614 | 0.75 | 65700 | 4.2743 | 36135 | 7.7715
|  |  |  | Model plant 4 |  |  | 30 | 10 | 66.67% | 10 | 2 | 80% | 20000 | 2500000 | 20 | 3% | 168039.269 | 250000 | 418039.269 | 0.6 | 87600 | 4.7721 | 35040 | 11.9303
|  |  |  | Model plant 5 |  |  | 50 | 15 | 70% | 20 | 2 | 90% | 20000 | 3000000 | 20 | 3% | 201647.1228 | 300000 | 501647.1228 | 0.9 | 229950 | 2.1815 | 118260 | 4.2419
|  |  |  | …… |  |  |  |  | 0 |  |  | 0 |  |  |  |  | - |  | - |  | 0 | 0 | 0 | 0
minerals
laundry
wood
rubber/leather
plastic/film/foam
industrial dumpsite
power plant
…
Note on D6: Hua Wen: Could be technical efficiency or average from model plants
Note on E6: Hua Wen: Could be technical efficiency or average from model plants
Note on K6: Hua Wen: Use technology limit if there's no monitoring data
Note on N6: Hua Wen: Use technology limit if there's no monitoring data
Note on P7: Hua Wen: CAPEX per unit depends on the size of plant (capacity). Should include the cost for sewage network

## Nitrogen Cost Curve
Nitrogen Cost Curve
Original data
| Build New WWTPs for Unsewered Population | Wetlands Restoration | Upgrade Existing WWTPs to BNR | Forest Buffers | Grass Buffers | Improved Nutrient Management
Reduction potential (ton/year) | 2119 | 1982.21 | 1064 | 5302.29 | 3593 | 867.22
Reduct. Pot, nearest 100 ton/yr | 21 | 20 | 11 | 53 | 36 | 9
Unit reduction cost (USD/ton) | 2.6 | 3.3 | 6.43 | 6.82 | 7.04 | 48.18
Highest Common Factor: | 1
Cumulative Reduction | 21 | 41 | 52 | 105 | 141 | 150
Template for cost curve
Unit Costs
| Build New WWTPs for Unsewered Population | Wetlands Restoration | Upgrade Existing WWTPs to BNR | Forest Buffers | Grass Buffers | Improved Nutrient Management
Reduction potential
1 | 2.6
2 | 2.6
3 | 2.6
4 | 2.6
5 | 2.6
6 | 2.6
7 | 2.6
8 | 2.6
9 | 2.6
10 | 2.6
11 | 2.6
12 | 2.6
13 | 2.6
14 | 2.6
15 | 2.6
16 | 2.6
17 | 2.6
18 | 2.6
19 | 2.6
20 | 2.6
21 | 2.6
22 |  | 3.3
23 |  | 3.3
24 |  | 3.3
25 |  | 3.3
26 |  | 3.3
27 |  | 3.3
28 |  | 3.3
29 |  | 3.3
30 |  | 3.3
31 |  | 3.3
32 |  | 3.3
33 |  | 3.3
34 |  | 3.3
35 |  | 3.3
36 |  | 3.3
37 |  | 3.3
38 |  | 3.3
39 |  | 3.3
40 |  | 3.3
41 |  | 3.3
42 |  |  | 6.43
43 |  |  | 6.43
44 |  |  | 6.43
45 |  |  | 6.43
46 |  |  | 6.43
47 |  |  | 6.43
48 |  |  | 6.43
49 |  |  | 6.43
50 |  |  | 6.43
51 |  |  | 6.43
52 |  |  | 6.43
53 |  |  |  | 6.82
54 |  |  |  | 6.82
55 |  |  |  | 6.82
56 |  |  |  | 6.82
57 |  |  |  | 6.82
58 |  |  |  | 6.82
59 |  |  |  | 6.82
60 |  |  |  | 6.82
61 |  |  |  | 6.82
62 |  |  |  | 6.82
63 |  |  |  | 6.82
64 |  |  |  | 6.82
65 |  |  |  | 6.82
66 |  |  |  | 6.82
67 |  |  |  | 6.82
68 |  |  |  | 6.82
69 |  |  |  | 6.82
70 |  |  |  | 6.82
71 |  |  |  | 6.82
72 |  |  |  | 6.82
73 |  |  |  | 6.82
74 |  |  |  | 6.82
75 |  |  |  | 6.82
76 |  |  |  | 6.82
77 |  |  |  | 6.82
78 |  |  |  | 6.82
79 |  |  |  | 6.82
80 |  |  |  | 6.82
81 |  |  |  | 6.82
82 |  |  |  | 6.82
83 |  |  |  | 6.82
84 |  |  |  | 6.82
85 |  |  |  | 6.82
86 |  |  |  | 6.82
87 |  |  |  | 6.82
88 |  |  |  | 6.82
89 |  |  |  | 6.82
90 |  |  |  | 6.82
91 |  |  |  | 6.82
92 |  |  |  | 6.82
93 |  |  |  | 6.82
94 |  |  |  | 6.82
95 |  |  |  | 6.82
96 |  |  |  | 6.82
97 |  |  |  | 6.82
98 |  |  |  | 6.82
99 |  |  |  | 6.82
100 |  |  |  | 6.82
101 |  |  |  | 6.82
102 |  |  |  | 6.82
103 |  |  |  | 6.82
104 |  |  |  | 6.82
105 |  |  |  | 6.82
106 |  |  |  |  | 7.04
107 |  |  |  |  | 7.04
108 |  |  |  |  | 7.04
109 |  |  |  |  | 7.04
110 |  |  |  |  | 7.04
111 |  |  |  |  | 7.04
112 |  |  |  |  | 7.04
113 |  |  |  |  | 7.04
114 |  |  |  |  | 7.04
115 |  |  |  |  | 7.04
116 |  |  |  |  | 7.04
117 |  |  |  |  | 7.04
118 |  |  |  |  | 7.04
119 |  |  |  |  | 7.04
120 |  |  |  |  | 7.04
121 |  |  |  |  | 7.04
122 |  |  |  |  | 7.04
123 |  |  |  |  | 7.04
124 |  |  |  |  | 7.04
125 |  |  |  |  | 7.04
126 |  |  |  |  | 7.04
127 |  |  |  |  | 7.04
128 |  |  |  |  | 7.04
129 |  |  |  |  | 7.04
130 |  |  |  |  | 7.04
131 |  |  |  |  | 7.04
132 |  |  |  |  | 7.04
133 |  |  |  |  | 7.04
134 |  |  |  |  | 7.04
135 |  |  |  |  | 7.04
136 |  |  |  |  | 7.04
137 |  |  |  |  | 7.04
138 |  |  |  |  | 7.04
139 |  |  |  |  | 7.04
140 |  |  |  |  | 7.04
141 |  |  |  |  | 7.04
142 | [5 empty] | 48.18
143 | [5 empty] | 48.18
144 | [5 empty] | 48.18
145 | [5 empty] | 48.18
146 | [5 empty] | 48.18
147 | [5 empty] | 48.18
148 | [5 empty] | 48.18
149 | [5 empty] | 48.18
150 | [5 empty] | 48.18
5,302
3,593
867
1,064
1,982
2,119

## Phosphorus Cost Curve
Nitrogen Cost Curve
Original data
| Build New WWTPs for Unsewered Population | Phosphate Detergent Ban | Wetlands Restoration | Forest Buffers | Grass Buffers | Upgrade Existing WWTPs to BNR
Reduction potential (ton/year) | 2354 | 776 | 399 | 476 | 476 | 966
Reduct. Pot, nearest 100 ton/yr | 235 | 78 | 40 | 48 | 48 | 97
Unit reduction cost (USD/ton) | 2.34 | 6.02 | 9.9 | 20.46 | 21.12 | 21.84
Highest Common Factor: | 1
Cumulative Reduction | 235 | 313 | 353 | 401 | 449 | 546
Template for cost curve
Unit Costs
| Build New WWTPs for Unsewered Population | Phosphate Detergent Ban | Wetlands Restoration | Forest Buffers | Grass Buffers | Upgrade Existing WWTPs to BNR
Reduction potential
1 | 2.34
2 | 2.34
3 | 2.34
4 | 2.34
5 | 2.34
6 | 2.34
7 | 2.34
8 | 2.34
9 | 2.34
10 | 2.34
11 | 2.34
12 | 2.34
13 | 2.34
14 | 2.34
15 | 2.34
16 | 2.34
17 | 2.34
18 | 2.34
19 | 2.34
20 | 2.34
21 | 2.34
22 | 2.34
23 | 2.34
24 | 2.34
25 | 2.34
26 | 2.34
27 | 2.34
28 | 2.34
29 | 2.34
30 | 2.34
31 | 2.34
32 | 2.34
33 | 2.34
34 | 2.34
35 | 2.34
36 | 2.34
37 | 2.34
38 | 2.34
39 | 2.34
40 | 2.34
41 | 2.34
42 | 2.34
43 | 2.34
44 | 2.34
45 | 2.34
46 | 2.34
47 | 2.34
48 | 2.34
49 | 2.34
50 | 2.34
51 | 2.34
52 | 2.34
53 | 2.34
54 | 2.34
55 | 2.34
56 | 2.34
57 | 2.34
58 | 2.34
59 | 2.34
60 | 2.34
61 | 2.34
62 | 2.34
63 | 2.34
64 | 2.34
65 | 2.34
66 | 2.34
67 | 2.34
68 | 2.34
69 | 2.34
70 | 2.34
71 | 2.34
72 | 2.34
73 | 2.34
74 | 2.34
75 | 2.34
76 | 2.34
77 | 2.34
78 | 2.34
79 | 2.34
80 | 2.34
81 | 2.34
82 | 2.34
83 | 2.34
84 | 2.34
85 | 2.34
86 | 2.34
87 | 2.34
88 | 2.34
89 | 2.34
90 | 2.34
91 | 2.34
92 | 2.34
93 | 2.34
94 | 2.34
95 | 2.34
96 | 2.34
97 | 2.34
98 | 2.34
99 | 2.34
100 | 2.34
101 | 2.34
102 | 2.34
103 | 2.34
104 | 2.34
105 | 2.34
106 | 2.34
107 | 2.34
108 | 2.34
109 | 2.34
110 | 2.34
111 | 2.34
112 | 2.34
113 | 2.34
114 | 2.34
115 | 2.34
116 | 2.34
117 | 2.34
118 | 2.34
119 | 2.34
120 | 2.34
121 | 2.34
122 | 2.34
123 | 2.34
124 | 2.34
125 | 2.34
126 | 2.34
127 | 2.34
128 | 2.34
129 | 2.34
130 | 2.34
131 | 2.34
132 | 2.34
133 | 2.34
134 | 2.34
135 | 2.34
136 | 2.34
137 | 2.34
138 | 2.34
139 | 2.34
140 | 2.34
141 | 2.34
142 | 2.34
143 | 2.34
144 | 2.34
145 | 2.34
146 | 2.34
147 | 2.34
148 | 2.34
149 | 2.34
150 | 2.34
151 | 2.34
152 | 2.34
153 | 2.34
154 | 2.34
155 | 2.34
156 | 2.34
157 | 2.34
158 | 2.34
159 | 2.34
160 | 2.34
161 | 2.34
162 | 2.34
163 | 2.34
164 | 2.34
165 | 2.34
166 | 2.34
167 | 2.34
168 | 2.34
169 | 2.34
170 | 2.34
171 | 2.34
172 | 2.34
173 | 2.34
174 | 2.34
175 | 2.34
176 | 2.34
177 | 2.34
178 | 2.34
179 | 2.34
180 | 2.34
181 | 2.34
182 | 2.34
183 | 2.34
184 | 2.34
185 | 2.34
186 | 2.34
187 | 2.34
188 | 2.34
189 | 2.34
190 | 2.34
191 | 2.34
192 | 2.34
193 | 2.34
194 | 2.34
195 | 2.34
196 | 2.34
197 | 2.34
198 | 2.34
199 | 2.34
200 | 2.34
201 | 2.34
202 | 2.34
203 | 2.34
204 | 2.34
205 | 2.34
206 | 2.34
207 | 2.34
208 | 2.34
209 | 2.34
210 | 2.34
211 | 2.34
212 | 2.34
213 | 2.34
214 | 2.34
215 | 2.34
216 | 2.34
217 | 2.34
218 | 2.34
219 | 2.34
220 | 2.34
221 | 2.34
222 | 2.34
223 | 2.34
224 | 2.34
225 | 2.34
226 | 2.34
227 | 2.34
228 | 2.34
229 | 2.34
230 | 2.34
231 | 2.34
232 | 2.34
233 | 2.34
234 | 2.34
235 | 2.34
236 |  | 6.02
237 |  | 6.02
238 |  | 6.02
239 |  | 6.02
240 |  | 6.02
241 |  | 6.02
242 |  | 6.02
243 |  | 6.02
244 |  | 6.02
245 |  | 6.02
246 |  | 6.02
247 |  | 6.02
248 |  | 6.02
249 |  | 6.02
250 |  | 6.02
251 |  | 6.02
252 |  | 6.02
253 |  | 6.02
254 |  | 6.02
255 |  | 6.02
256 |  | 6.02
257 |  | 6.02
258 |  | 6.02
259 |  | 6.02
260 |  | 6.02
261 |  | 6.02
262 |  | 6.02
263 |  | 6.02
264 |  | 6.02
265 |  | 6.02
266 |  | 6.02
267 |  | 6.02
268 |  | 6.02
269 |  | 6.02
270 |  | 6.02
271 |  | 6.02
272 |  | 6.02
273 |  | 6.02
274 |  | 6.02
275 |  | 6.02
276 |  | 6.02
277 |  | 6.02
278 |  | 6.02
279 |  | 6.02
280 |  | 6.02
281 |  | 6.02
282 |  | 6.02
283 |  | 6.02
284 |  | 6.02
285 |  | 6.02
286 |  | 6.02
287 |  | 6.02
288 |  | 6.02
289 |  | 6.02
290 |  | 6.02
291 |  | 6.02
292 |  | 6.02
293 |  | 6.02
294 |  | 6.02
295 |  | 6.02
296 |  | 6.02
297 |  | 6.02
298 |  | 6.02
299 |  | 6.02
300 |  | 6.02
301 |  | 6.02
302 |  | 6.02
303 |  | 6.02
304 |  | 6.02
305 |  | 6.02
306 |  | 6.02
307 |  | 6.02
308 |  | 6.02
309 |  | 6.02
310 |  | 6.02
311 |  | 6.02
312 |  | 6.02
313 |  | 6.02
314 |  |  | 9.9
315 |  |  | 9.9
316 |  |  | 9.9
317 |  |  | 9.9
318 |  |  | 9.9
319 |  |  | 9.9
320 |  |  | 9.9
321 |  |  | 9.9
322 |  |  | 9.9
323 |  |  | 9.9
324 |  |  | 9.9
325 |  |  | 9.9
326 |  |  | 9.9
327 |  |  | 9.9
328 |  |  | 9.9
329 |  |  | 9.9
330 |  |  | 9.9
331 |  |  | 9.9
332 |  |  | 9.9
333 |  |  | 9.9
334 |  |  | 9.9
335 |  |  | 9.9
336 |  |  | 9.9
337 |  |  | 9.9
338 |  |  | 9.9
339 |  |  | 9.9
340 |  |  | 9.9
341 |  |  | 9.9
342 |  |  | 9.9
343 |  |  | 9.9
344 |  |  | 9.9
345 |  |  | 9.9
346 |  |  | 9.9
347 |  |  | 9.9
348 |  |  | 9.9
349 |  |  | 9.9
350 |  |  | 9.9
351 |  |  | 9.9
352 |  |  | 9.9
353 |  |  | 9.9
354 |  |  |  | 20.46
355 |  |  |  | 20.46
356 |  |  |  | 20.46
357 |  |  |  | 20.46
358 |  |  |  | 20.46
359 |  |  |  | 20.46
360 |  |  |  | 20.46
361 |  |  |  | 20.46
362 |  |  |  | 20.46
363 |  |  |  | 20.46
364 |  |  |  | 20.46
365 |  |  |  | 20.46
366 |  |  |  | 20.46
367 |  |  |  | 20.46
368 |  |  |  | 20.46
369 |  |  |  | 20.46
370 |  |  |  | 20.46
371 |  |  |  | 20.46
372 |  |  |  | 20.46
373 |  |  |  | 20.46
374 |  |  |  | 20.46
375 |  |  |  | 20.46
376 |  |  |  | 20.46
377 |  |  |  | 20.46
378 |  |  |  | 20.46
379 |  |  |  | 20.46
380 |  |  |  | 20.46
381 |  |  |  | 20.46
382 |  |  |  | 20.46
383 |  |  |  | 20.46
384 |  |  |  | 20.46
385 |  |  |  | 20.46
386 |  |  |  | 20.46
387 |  |  |  | 20.46
388 |  |  |  | 20.46
389 |  |  |  | 20.46
390 |  |  |  | 20.46
391 |  |  |  | 20.46
392 |  |  |  | 20.46
393 |  |  |  | 20.46
394 |  |  |  | 20.46
395 |  |  |  | 20.46
396 |  |  |  | 20.46
397 |  |  |  | 20.46
398 |  |  |  | 20.46
399 |  |  |  | 20.46
400 |  |  |  | 20.46
401 |  |  |  | 20.46
402 |  |  |  |  | 21.12
403 |  |  |  |  | 21.12
404 |  |  |  |  | 21.12
405 |  |  |  |  | 21.12
406 |  |  |  |  | 21.12
407 |  |  |  |  | 21.12
408 |  |  |  |  | 21.12
409 |  |  |  |  | 21.12
410 |  |  |  |  | 21.12
411 |  |  |  |  | 21.12
412 |  |  |  |  | 21.12
413 |  |  |  |  | 21.12
414 |  |  |  |  | 21.12
415 |  |  |  |  | 21.12
416 |  |  |  |  | 21.12
417 |  |  |  |  | 21.12
418 |  |  |  |  | 21.12
419 |  |  |  |  | 21.12
420 |  |  |  |  | 21.12
421 |  |  |  |  | 21.12
422 |  |  |  |  | 21.12
423 |  |  |  |  | 21.12
424 |  |  |  |  | 21.12
425 |  |  |  |  | 21.12
426 |  |  |  |  | 21.12
427 |  |  |  |  | 21.12
428 |  |  |  |  | 21.12
429 |  |  |  |  | 21.12
430 |  |  |  |  | 21.12
431 |  |  |  |  | 21.12
432 |  |  |  |  | 21.12
433 |  |  |  |  | 21.12
434 |  |  |  |  | 21.12
435 |  |  |  |  | 21.12
436 |  |  |  |  | 21.12
437 |  |  |  |  | 21.12
438 |  |  |  |  | 21.12
439 |  |  |  |  | 21.12
440 |  |  |  |  | 21.12
441 |  |  |  |  | 21.12
442 |  |  |  |  | 21.12
443 |  |  |  |  | 21.12
444 |  |  |  |  | 21.12
445 |  |  |  |  | 21.12
446 |  |  |  |  | 21.12
447 |  |  |  |  | 21.12
448 |  |  |  |  | 21.12
449 |  |  |  |  | 21.12
450 | [5 empty] | 21.84
451 | [5 empty] | 21.84
452 | [5 empty] | 21.84
453 | [5 empty] | 21.84
454 | [5 empty] | 21.84
455 | [5 empty] | 21.84
456 | [5 empty] | 21.84
457 | [5 empty] | 21.84
458 | [5 empty] | 21.84
459 | [5 empty] | 21.84
460 | [5 empty] | 21.84
461 | [5 empty] | 21.84
462 | [5 empty] | 21.84
463 | [5 empty] | 21.84
464 | [5 empty] | 21.84
465 | [5 empty] | 21.84
466 | [5 empty] | 21.84
467 | [5 empty] | 21.84
468 | [5 empty] | 21.84
469 | [5 empty] | 21.84
470 | [5 empty] | 21.84
471 | [5 empty] | 21.84
472 | [5 empty] | 21.84
473 | [5 empty] | 21.84
474 | [5 empty] | 21.84
475 | [5 empty] | 21.84
476 | [5 empty] | 21.84
477 | [5 empty] | 21.84
478 | [5 empty] | 21.84
479 | [5 empty] | 21.84
480 | [5 empty] | 21.84
481 | [5 empty] | 21.84
482 | [5 empty] | 21.84
483 | [5 empty] | 21.84
484 | [5 empty] | 21.84
485 | [5 empty] | 21.84
486 | [5 empty] | 21.84
487 | [5 empty] | 21.84
488 | [5 empty] | 21.84
489 | [5 empty] | 21.84
490 | [5 empty] | 21.84
491 | [5 empty] | 21.84
492 | [5 empty] | 21.84
493 | [5 empty] | 21.84
494 | [5 empty] | 21.84
495 | [5 empty] | 21.84
496 | [5 empty] | 21.84
497 | [5 empty] | 21.84
498 | [5 empty] | 21.84
499 | [5 empty] | 21.84
500 | [5 empty] | 21.84
501 | [5 empty] | 21.84
502 | [5 empty] | 21.84
503 | [5 empty] | 21.84
504 | [5 empty] | 21.84
505 | [5 empty] | 21.84
506 | [5 empty] | 21.84
507 | [5 empty] | 21.84
508 | [5 empty] | 21.84
509 | [5 empty] | 21.84
510 | [5 empty] | 21.84
511 | [5 empty] | 21.84
512 | [5 empty] | 21.84
513 | [5 empty] | 21.84
514 | [5 empty] | 21.84
515 | [5 empty] | 21.84
516 | [5 empty] | 21.84
517 | [5 empty] | 21.84
518 | [5 empty] | 21.84
519 | [5 empty] | 21.84
520 | [5 empty] | 21.84
521 | [5 empty] | 21.84
522 | [5 empty] | 21.84
523 | [5 empty] | 21.84
524 | [5 empty] | 21.84
525 | [5 empty] | 21.84
526 | [5 empty] | 21.84
527 | [5 empty] | 21.84
528 | [5 empty] | 21.84
529 | [5 empty] | 21.84
530 | [5 empty] | 21.84
531 | [5 empty] | 21.84
532 | [5 empty] | 21.84
533 | [5 empty] | 21.84
534 | [5 empty] | 21.84
535 | [5 empty] | 21.84
536 | [5 empty] | 21.84
537 | [5 empty] | 21.84
538 | [5 empty] | 21.84
539 | [5 empty] | 21.84
540 | [5 empty] | 21.84
541 | [5 empty] | 21.84
542 | [5 empty] | 21.84
543 | [5 empty] | 21.84
544 | [5 empty] | 21.84
545 | [5 empty] | 21.84
546 | [5 empty] | 21.84
547 | [5 empty] | 21.84
548 | [5 empty] | 21.84
549 | [5 empty] | 21.84
550 | [5 empty] | 21.84
996